Elapsed-time counter, front 48 x 48 mm, front panel installation (BZ 142-1)

Elapsed-time counter; 48 x 48mm front plate; integrated part 46 x 46 mm; spring closer and stretching clamp; Counter range up to 99,999.99 hours; clamp or flat plug connection; operating voltage 230 V~ /50 Hz; housing colour : anthracite.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: BZ 142-1
Order No.: 1420721

Unit: ST

