Elapsed-time counter, front 48 x 48 mm, front panel installation, 10-80 V DC (BZ 142-1 DC)

Elapsed-time counter; 52 x 52mm front plate; integrated part 46 x 46 mm; stretching clamp with spring closer; clamp or flat plug connection; counter range up to 99,999.99 hours; operating voltage 10 – 80VDC

Deliver, assemble, connect up and set up

...

Make: Theben

Type: BZ 142-1 DC

Order No.: 1420821

Unit: ST