# Elapsed-time counter, front 48 x 48 mm, plug-in base for wall mounting

Elapsed-time counter; 48 x 48mm front plate; integrated part 46 x 46 mm; spring closer and stretching clamp; Counter range up to 99,999.99 hours; plug-in base with screw or quick-release catch for 35 mm standard mounting rail; terminal screws; operating voltage 230 V~ /50 Hz; housing colour : anthracite.

# Deliver, assemble, connect up and set up

...

# Make: Theben

# Type: BZ 142-3

Order No.: 1420723

# Unit: ST