Elapsed-time counter with plug-in base, quick fastener, 10-80 V DC (BZ 142-3 DC)

Elapsed-time counter; 48 x 48mm front plate; plug-in base with quick fastener; integrated part 46 x 46 mm; Counter range up to 99,999.99 hours; operating voltage 10 - 80 VDC

Deliver, assemble, connect up and set up
...

Make: Theben

Type: BZ 142-3 DC
Order No.: 1420823

Unit: ST

