EIB/KNX 2 way dimming performance upgrade, dimming booster (DMB 2 S EIB/KNX)

2 channel dimming performance upgrade per module; upgrade of DMG 2 S and DME 2 S. Rail mounted housing; width 72 mm; performance can be doubled at maximum load with the dimming booster: Symmetrical: 2 x 600 W/VA; asymmetrical: 1 x 1000 W/VA.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: DMB 2 S EIB/KNX

Order No.: 4910272

Unit: ST