Presence sensor for ceiling installation, 2 x light and HVAC, 9x9m (ECO-IR DUAL–C NT)

Theben HTS 360° presence sensor for ceiling installation, presence sensor for 2 sets of lights, fully automatic/semi-automatic options, 2 x sensor or switch control, 2 x daylight measurement 10...1500 lux, 2 relays for light, range 9x9 m at installation height of 3 m (9 m) (standing), 7x7 m at installation height of 3 m (seated), light relay: 2 NO contacts 6 A 230V AC, exclusively for fluorescent lamps (FL/PL) 1400 VA, delay 10 s...20 minutes auto-learning, switch on current limit for electronic series devices, remote control, front plate insulation material white 84x84 mm, mounting plate 70x70 mm, installation depth 35 mm

Deliver, assemble, connect up and set up

Make: Theben

Type: TA 4 EIB/KNX

Order No.: 2020401

Unit: ST

Accessories:

# QuickSet plus

Service remote control

Order No.: 9070532

Clik

User remote control

Order No.: 9070515

# AP-frame ECO-IR 360, white

Order No.: 9070512

# QuickFix

# Integrated housing for mounting in false ceilings

Order No.: 9070522

Round cover for QuickFix

Order No.: 9070517

Square cover for QuickFix

Order No.: 9070516

# QuickFix concrete

# Integrated housing for mounting in concrete ceilings

Order No.: 9070521

Round cover for QuickFix concrete

Order No.: 9070519

Square cover for QuickFix concrete

Order No.: 9070518