# Flush-mounted staircase light timer, zero interconnection (ELPA 047)

Flush-mounted staircase light timer, housing 52x48x24 mm, time range 0.5 - 20 minutes, can be retriggered, 3 and 4 wire connection, zero interconnection, max. 30mA glow lamp load with surge protection, 1 NO contact 8(5)A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: ELPA 047

Order No.: 0470002

Unit: ST