# Rail mounted staircase light – time switch ELPA 3 with multi-voltage input (ELPA 3)

Rail mounted staircase light timer, width 17.5 mm, time range 0.5 - 20 Min. Can be retriggered, continuous light function, 3 and 4 wire connection, max. 150mA glow lamp load with electronic overload protection, additional sensor input electronically separated for intercoms AC/DC 8...240 V, 1 NO contact 16(10)A/230 V~

# Deliver, assemble, connect up and set up

...

# Make: Theben

# Type: ELPA 3

Order No.: 0030002

# Unit: ST