Rail mounted staircase light timer for retrofitting in old systems (ELPA 9)

Rail mounted staircase timer; width 17.5 mm; time range 1 - 7 minutes; cannot be retriggered; only for three wire connection with floor lighting; max. 50 mA glow lamp load; only for retrofitting of existing systems; 1 NO contact 16 (6)A/230V~

Deliver, assemble, connect up and set up

...

Make: Theben

Type: ELPA 9

Order No.: 0090001

Unit: ST