Ethernet communications module for remote access, 3 TLE (EM LAN top2)

Ethernet communications module for remote access via LAN-DSLnetwork to time switches TR 641 top2 RC, TR 642 top2 RC and TR 644 top2 RC; remote programming using OBELISK PC software; direct remote access to time switch (e.g. reading out switching status, performing manual switching, checking time); rail mounted housing with quick fastening, width 52 mm.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: EM LAN top2

Order no.: 6490900

Unit: ST