EIB/KNX heating actuator for 12 thermal positioning drives (triac) (HMT 12 EIB/KNX)

EIB/KNX heating actuator for 12 thermal positioning drives; silent switching of positioning drives via use of triacs; 12 channels to control up to 13 thermal positioning drives; built in transformer supplies thermal positioning drives (24V); ideal for installation in heating circuit distributor through touch-safe protective low voltage. Heating functions: Continuous and switching control variable selectable; compulsory operation selectable via object; summer mode; emergency mode in case of bus or controller failure. Determining the maximum control variable of all channels to integrate the boiler control; Automatic unlocking of thermal positioning drives after switch on.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: HMT 12 EIB/KNX

Order No.: 4900274

Unit: ST