EIB/KNX heating actuator for 6 thermal positioning drives (triac) (HMT 6 EIB/KNX)

EIB/KNX heating actuator for 6 thermal positioning drives; silent switching of positioning drives via use of triacs; 6 channels to control up to 13 thermal positioning drives; built in transformer supplies thermal positioning drives (24V); ideal for installation in heating circuit distributor through touch-safe protective low voltage. Heating functions: Continuous and switching control variable selectable; compulsory operation selectable via object; summer mode; emergency mode in case of bus or controller failure. Determining the maximum control variable of all channels to integrate the boiler control. Automatic unlocking of thermal positioning drives after switch on.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: HMT 6 EIB/KNX

Order No.: 4900273

Unit: ST