Rail mounted twilight switch  LUNA 108, mounted light sensor (LUNA 108 EL)

Rail mounted twilight switches, 17.5 mm width, setting range 2-100 lux, separate mounted light sensor (IP 54) (included in delivery), 20/80 seconds switching delay, immediate threshold – display (red LED), channel status – display (green LED), NO contact 16(10) A/250V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUNA 108 AL

Order No.: 1080710

Unit: ST