Rail mounted Twilight switch, 2 module, 2-2000 lux, with wall mounted light sensor (LUNA 109 with wall mounted light sensor)

Rail mounted twilight switch; width 35 mm; separate wall mounted light sensor (IP 55); brightness range: 2 - 2000 lux; On/Off switch delay 60 secs /60 secs.; instantaneous LED display; DuoFix screwless terminals; test button; 1 two way switch 16A/250V~ with LED display; sealable transparent cover

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUNA 109 with mounted light sensor

Order no.: 109 0 100

Unit: ST

Accessories:

Terminal box cover plate

Order no.: 907 0 064