Rail mounted twilight switch, 2 module, 2-50,000 lux, with flush-mounted light sensor (LUNA 110 with flush-mounted light sensor)

Rail mounted twilight switch; width 35 mm; separate flush-mounted light sensor (IP 65); 1.5 m connecting cable; 5 brightness ranges: 2 - 50,000 lux; On/Off switch delay 0-20 mins.; test button, ON/OFF permanent; instantaneous LED display; DuoFix screwless terminals; test button; zero cross switching, 1 two way switch 16AX/250V~ with LED display; sealable transparent cover

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUNA 110 with flush-mounted light sensor

Order no.: 110 0 200

Unit: ST

Accessories:

Terminal box cover plate

Order no.: 907 0 064