Wall mounted twilight switch, 5-200 lux, with adapter plate(LUNA 126 star adapter plate)

Wall mounted twilight switch; (IP 55); housing 85 x 118 x 49 mm; brightness range: 5 - 200 lux; On/off switch delay approx. 40 seconds; 1 NO contact 10 (6) A/230V~, with adapter plate

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUNA 126 star adapter plate

Order No.: 1260701

Unit: ST