EIB/KNX brightness value transmitter, wall mounted., 1-100 000 lux, (LU 133 EIB/KNX)

Brightness value transmitter, e.g. for sun protection control. Power supply via bus voltage; IP 54 in accordance with DIN EN 60529; measurement range: 1...100000 lux. The current measured brightness value is transmitted cyclically or when there is a change Housing: 110x72x54 mm.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LU 133 EIB/KNX

Order No.: 1339200

Unit: ST