Living comfort control unit, upgrade unit, 4 channels (LUXOR 404 four channel upgrade)

4 channel upgrade module LUXOR 404; rail mounted housing (4 TE); quick fastening; with 72 mm; 2 wire COM interface; 4 sensor/switch inputs; C1: Power surge and time function 1-15 minutes; switch off pre-warning; secondary switching and continuous function; C2: Power surge and time function 1-20 minutes, with switch off pre-warning option and continuous function; C3: power surge function; C4: power surge function suitable for FI (RCD); manual switch; LED display of input/output signals; operating voltage 230V~/50 Hz; 4 relay outputs; NO contact 16 A 250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUXOR 404 four channel upgrade

Order No.: 4040000

Unit: ST