Living comfort control unit, upgrade unit, 2 channels (LUXOR 402 two channel upgrade)

2 channel upgrade module LUXOR 402; rail mounted housing; quick fastening; width 45 mm. 2 wire COM interface; 2 sensor/switch inputs; C2 and C2: power surge function only; manual switch; LED display of input/output signals; operating voltage 230V~/50 Hz; 2 relay outputs; NO contact 16 A 250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUXOR 402 two channel upgrade

Order No.: 4020000

Unit: ST