LUXOR 414 8 channel system clock, upgrade module (LUXOR 414)

LUXOR 414 8 channel system clock, upgrade module, rail mounted housing (2.5 TE), quick fastening, width 45 mm, 2 wire COM interface, 8 channels with choice of daily, weekly or astronomic program, 128 freely programmable switch times as well as 732 pre-programmed Astro times, 4 pre-programmed standard programs, selector switch for individual link of timer channels with one or more LUXOR - outputs. Percent values from 0-100% are sent to position drives and set dimming values. Offset +/-120 min., idle periods to suppress or retime switching signals. Automatic summer/winter time changeover. Text-based operator guide in display.      Power reserve 5 hours, operating voltage 230V~, 50 Hz.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUXOR 414

Order No.: 4140000

Unit: ST