Installation set for rail mounted devices 4 TLE (installation set (LU 118))
	
Installation set for rail mounted devices with terminal cover; sealable; 4TLE

Deliver, assemble, connect up and set up
...

Make: Theben

Type: Installation set (LU 118)
Order No.: 9070049

Unit: ST

