EIB/KNX secondary clock, single-sided wall clock, diameter 30 cm, line numerals (OSIRIA 230 BR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 30 cm; white metal face with black DIN bar numerals for hours and minutes; shockproof plastic housing with matt edge; diameter 31.5 cm; height 6.0 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 230 SR-EIB/KNX

Order No.: 5009211

Unit: ST