EIB/KNX secondary clock, single-sided wall clock, for operating theatres (OSIRIA 232 BQ-EIB/KNX)

EIB/KNX secondary clock; single-sided installation – wall clock for operating theatres; clock face dimensions 25 x 25 cm; line numerals; dial printing in accordance with DIN 41 091; black DIN bar hand for hours and minutes display; red second hand; cleaning agent and disinfectant resistant stainless steel frame; protected against dust and moisture when installed; housing dimensions 30.1 x 30.1 cm; height 6 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 232 BQ-EIB/KNX

Order No.: 5009223

Unit: ST