EIB/KNX secondary clock, single-sided wall clock, diameter 40 cm, Arabic numerals (OSIRIA 240 AR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 40 cm; white metal face with black Arabic numerals; black bar display of hours and minutes; red second hand; shockproof plastic housing with matt edge; flat shock-resistant Plexiglas; diameter 41.5 cm; height 6.4 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 240 AR-EIB/KNX

Order No.: 5009230

Unit: ST