EIB/KNX secondary clock, single-sided wall clock, diameter 40 cm, line numerals (OSIRIA 240 SR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 40 cm; white metal face with black fine line numerals for hours and minutes; clock face in accordance with DIN 41 091 impact-resistant plastic housing with matt edge; diameter 41.5 cm; height 6.4 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 240 SR-EIB/KNX

Order No.: 5009231

Unit: ST