EIB/KNX secondary clock, single-sided wall clock, diameter 40 cm, Arabic numerals (OSIRIA 241 AR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 40 cm; white metal face with black Arabic numerals; black DIN bar display of hours and minutes; red second hand; domed shock-resistant Plexiglas; high-quality chrome-plated metal housing; diameter 44.5 cm; height 7.2 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 241 AR-EIB/KNX

Order No.: 5009240

Unit: ST