EIB/KNX secondary clock, single-sided wall clock (OSIRIA 241 BR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 40 cm; white metal face with black DIN bar display; domed shock-resistant Plexiglas; high-quality chrome-plated metal housing; diameter 40 cm; height 7.2 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 241 BR-EIB/KNX

Order No.: 5009241

Unit: ST