Room thermostat with switch for heating on/off (RAM 705)

Room thermostat; 5 - 30°C; with switch and for heating ON/OFF; wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 705

Order No.: 7050001

Unit: ST