Room thermostat, connection for temperature reduction, heating switch, lamp (RAM 706)

Room thermostat; 5 - 30°C; with integral temperature reduction (approx. 4 K) via external control (e.g. switch, timer); switch for heating ON/OFF; wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 706

Order No.: 7060001

Unit: ST