Room thermostat, changeover switch for heating/cooling (RAM 708)

Room thermostat; 5 - 30°C; with switch and LED for heating ON/OFF; additional switch and LED for additional heating; colour: pure white; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 708

Order No.: 7080001

Unit: ST