Clock thermostat with daily and weekly program, reduced control (RAM 725)

Electronic thermostat with automatic night temperature reduction for combination with radiator thermostat valves; adjustable for daily and weekly program; programmable every 5 minutes or 30 minutes; shortest switching time for weekly program 2 hours; night temperature settings from +10°C ... 30°C; operating mode switch; frost protection 6°C; party switch; indicator display; thermal circulation and operating point settings; housing colour: white; 1 two way switch 6A/250V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 725

Order No.: 7250030

Unit: ST