Flush-mounted room thermostat for heating/cooling with frame (RAM 748 RA)

Room thermostat; 5 - 30°C; with frame; with changeover switch for heating (10A) or cooling (5A); colour: pure white; changeover switch 5/10 A 230V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 748 RA

Order No.: 7480131

Unit: ST