Flush-mounted room thermostat, heating /cooling switch (RAM 748)

Room thermostat; can be combined with sub-frames (50x 50mm) from different switch manufacturers for area switch programs; 5 - 30°C; heating /cooling two-way switch; colour: pure white; two way switch 10/5 A/250 V~(heating/cooling).

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 748

Order No.: 7480130

Unit: ST