Clock thermostat, 24 hour and 7 day program, power reserve, operating mode switch. (RAM 782)
	
Electronic thermostat with automatic night temperature reduction; adjustable for daily and weekly program; programmable every 5 minutes or 30 minutes; shortest switching time for weekly program 2 hours; day and night temperature settings from +10°C ... 30°C; operating mode selector; frost protection 6°C; party switch; indicator lamp; thermal recirculation and operating point settings. Connection for telephone remote switch; power reserve 3 days; housing colour: white; 1 two way switch 6A/250V~.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: RAM 782
Order No.: 7820030

Unit: ST

