Digital clock thermostat, 7 day, text line, mains version (RAM 812 top2 (mains version))

Elegantly designed digital room thermostat; info button for important information; text line in the display with step-by-step operator guide; weekly program; switch for 3 basic programs with modifiable temperatures and with up to 42 time/temperature phases; setting range +6°C ... 30°C in 0.2 degree increments; date-controlled holiday program; fully automatic summer/winter time changeover; party and ECO program with adjustable duration; frost protection a summer switching; operating point and switching differential can be adjusted; mains power supply; housing colour: white; 2 point control; 1 two way switch 6 A/250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 812 top 2 (mains version)

Order No.: 8120132

Unit: ST