USB interface EIB/KNX (USB interface EIB/KNX)
	
USB interfaces EIB/KNX; connects to PC via USB plug; may be used with ETS3 V1.), rail mounted 2 TLE.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: USB interface EIB/KNX
Order No.: 9070397

Unit: ST


