Remote temperature sensor with ± 3 K temperature adjustment for RAM 366 top (external sensor 2 (RAM 366 /1/2 top))
	
Remote temperature sensor with ± 3 K temperature adjustment; wall mounted; white; terminal screws

Deliver, assemble, connect up and set up
...

Make: Theben

Type: External sensor 2 (RAM 366 /1/2 top)
Order No.: 9070192

Unit: ST

