2 channel KNX motion sensor for ceiling installation (SPHINX 332 S KNX)

Motion sensor with continuous light control for ceiling installation, inconspicuous and flat integrated housing. ON/OFF lighting control dependent on brightness and movement or just on movement. Continuous light control constant or movement controlled. Detection area 7 m diameter with 2.8 m installation height, brightness setting range of 0 - 700 lux (with correction factor up to 5600 lux), set point value change of brightness with long keystroke (teach-in). Adjustable run-on time of 1s – 120 min., functions: Lighting ON/OFF, shutters/blinds UP/DOWN, time functions, locking the motion sensor, dimming values, dimming UP/DOWN, Master/Slave function. Additional programming keys can activate the phys. Address via a programming magnet. Supply voltage: Bus.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SPHINX 332 S KNX

Order No.: 1079216

Unit: ST