Rail mounted 24 hour timer, segments, power reserve, 3 TLE (SUL 181 h)

Rail mounted timer with approx. 3 days power reserve; width 52.5 mm; 24 hour segment program; shortest switching time 30 minutes.; switching pre-selection and permanent ON/OFF switching; 1 two way switch 16A/250V~; sealable transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 181 h

Order No.: 1810008

Unit: ST