24 hour and 7 day timer with plug-in base, power reserve, front 72 x 72 mm (SUL 189 s)

Timer with plug-in base; front frame 72 x 72 mm; clamping bracket; approx. 3 day power reserve; 24 hour program; shortest switching time 15 minutes; 1 two way switch 10A 250V~; transparent cover.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: SUL 189 s
Order No.: 1890801

Unit: ST

