Rail mounted 24 hour time switch, segments, 3 TLE (SYN 161 d)

Rail mounted time switch without power reserve; width 52.5mm; 24 hour program; shortest switching time 15 minutes; Clock hand for time display and 12/24 hour recognition; time can be adjusted clockwise or counter-clockwise; witching pre-selection; manual switch with 3 positions: Continuous ON/AUTO/continuous OFF; switching status display; DuoFix spring terminal for 2 conductors; 1 two way switch 16 A /250 V~; 230V / 50 Hz;sealable transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SYN 161 d

Order no.: 1610011

Unit: ST