24 hour segment timer with plug-in base, 3 TLE (SYN 169 s)

Timer with plug-in base; front frame 72 x 72 mm; clamping bracket; no power reserve; 24 hour program; shortest switching time 15 minutes; 1 two way switch 10A 250V~; transparent cover.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: SYN 169 s
Order No.: 1690801

Unit: ST

