24 hour and 7 day timer with plug-in base, pins, front 72 x 72 mm (SYN 269 h)
	
Timer with plug-in base; front frame 72 x 72 mm; clamping bracket; without power reserve; 24 hour/ 7 day programs; shortest switching time 20 minutes/ 2 hours; 1 switching pre-selection and continuous switching, 1 two way switch 10A 250V~; transparent cover.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: SYN 269 h
Order No.: 2690008

Unit: ST

