Digital time program connector DCF, daily, weekly and random program (theben-eltimo 020 S DCF)

Digital time program connector; DCF77 radio controlled time setting; earthed; housing: 129 x 65 x 41mm; daily and weekly program; random switching; 36 freely programmable switching times; switching pre-selection and permanent switching; 500 hours power reserve; switching capacity 1000 W.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: theben-eltimo 020 S DCF

Order No.: 200300

Unit: ST