Digital time program connector, daily, weekly and random program (theben-eltimo 020 S)

Digital time program connector; housing: 129 x 65 x 41mm; daily and weekly program; random switching; 36 freely programmable switching times; automatic winter/summer changeover time; switching pre-selection and permanent switching; 500 hours power reserve; switching capacity 1000 W.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: theben-eltimo 020 S

Order No.: 200000

Unit: ST