Time program connector 24 hours, white (theben-timer 26 white - day)

Compact time program connector; housing 71 x 71 x 41 mm; colour: white; 24 hour time program programmable in 96 segments in 15 minute intervals; manual switch for switching pre-selection; switching capacity 3500 W.

Deliver, assemble, connect up and set up
...

Make: Theben

Type: theben-timer 26 white - day
Order No.: 260030

Unit: ST

