Time program connector 7 days, white (theben-timer 27 white - week)

Compact time program connector; housing 71 x 71 x 41 mm; colour: white; weekly time program programmable in 84 segments in 2 minute intervals; manual switch for switching pre-selection; switching capacity 3500 W.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: theben-timer 27 white - weekly

Order No.: 0270930

Unit: ST