Rail mounted multi-function time relay, 0.1 seconds – 100 hours, 7 functions (TM 345 M)

Rail mounted – multi-function – time relay; width 17.5 mm; 7 ranges; all values adjustable from 0.1 seconds to 100 hours; rotary switch for operating mode: Response delay; wiper switch on; release delay with control contact; pulse shaper with control contact; On/off switch delay; wiper switch on/off; clock generator; supply and control voltage 24 AC to 240 V; 24 V DC; 1 two way switch 8 A/ 250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: TM 345 M

Order No.: 3450731

Unit: ST