Rail mounted digital time switch 1 channel,  7 day,  plug-in terminals, 1 module (TR 608 top2 S)
 
Digital 1 channel time switch with weekly program and 56 memory locations; rail mounted device with transparent cover and quick fastening; width 17,5 mm (1 module); text-based operator guidance in the display; interface for OBELISK top2 memory card for PC programming; 10 year lithium battery power reserve; ON/OFF switching times; switching preselection; permanent ON/OFF switching; integrated operating hours counter; holiday program; PIN code; automatic summer/winter time changeover, change-over contact 16(4)A/250VAC, operating voltage 230-240V/50-60 Hz; stand-by 0.4 W; DuoFix spring terminals, high accuracy due to temperature compensation.


Delivery, installation, connect and set up.

Make: Theben

Type: TR 608 top2 S
Order no.: 6080101


Unit: ST



Accessories:

OBELISK top 2 programming set
Memory card, plug adapter, software CD, USB plug adapter, for Windows 2000/XP/Vista.
Order no.: 9070409

OBELISK top2 memory card, single
Order no.: 9070404
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