EIB/KNX quartz/radio controlled time transmitter (ZS 600 DCF EIB/KNX)

Quartz/radio controlled time transmitter, rail mounted housing 35 mm width, sends time and date to the bus, synchronises secondary clocks, supplies power for optional DCF77 antenna, date and time preset (CET or CEST in summer), automatic summer/winter changeover (changeover rule selectable)

Deliver, assemble, connect up and set up

...

Make: Theben

Type: ZS 600 DCF EIB/KNX

Order No.: 6009200

Unit: ST